## Slide 1
Data Centers: The Hidden Backbone of the Digital Age
Discover how IT, power, and cooling equipment work together to keep our digital world running 24/7.

## Slide 2
IT Equipment
AGENDA
1
Power Equipment
2
Cooling Equipment
3
Equipment Integration
4
Review & Challenge
5

## Slide 3
You’ll master the essentials of how data centers operate and keep digital services available.
Identify Key Equipment
You will spot IT, power, and cooling equipment in a real data center.
Explain Equipment Roles
You will describe how different equipment types keep data centers running.
Understand Redundancy
You will explain why backup and redundancy are crucial for reliability.
Map Equipment Locations
You will match equipment to where it’s found in the data center layout.

## Slide 4
PDU
Power Distribution Unit—advanced power strip for equipment, monitors usage.
CRAC/CRAH
Air conditioning/handling units—keep server rooms cool and stable.
UPS
Uninterruptible Power Supply—battery backup for instant power during outages.
RAID
Array of disks—protects data even if one hard drive fails.
TERMS TO UNDERSTAND
Knowing these terms helps you follow how power, IT, and cooling systems work together.

## Slide 5
DATA CENTER OVERVIEW
A data center combines IT, power, and cooling systems into a reliable digital hub.

## Slide 6
IT EQUIPMENT BASICS
IT equipment—the brains—process, store, and move data in secure, climate-controlled racks.
Network
Handles communication between servers and outside world.
Storage
Keeps all data safe and accessible for apps and users.
Compute
Servers process and analyze information nonstop.
1
2
3

## Slide 7
NETWORK EQUIPMENT
Network gear is the nervous system, linking all servers and storage efficiently.
Top-of-Rack Switches
Each rack has its own switch, like a post office for data.
Aggregation Layers
Bigger switches connect racks to the broader network.
Market Types
Consumer, SOHO, Enterprise, and Service Provider equipment serve different needs.
1
2
3

## Slide 8
STORAGE SYSTEMS
Storage tech includes tape, disk, and solid-state drives for varied speed and reliability.
Tape
Long-term archival like a safe deposit box—slow but secure.
Disk
Digital filing cabinets—good balance of speed and capacity.
Solid State
Super-fast, no moving parts, like memorizing everything instantly.
1
2
3

## Slide 9
SERVER TECHNOLOGIES
Servers: traditional (standalone) or blade (modular, efficient) for different needs.
Traditional
Independent, easy to maintain, lower cost per unit.
Blade
Share power/cooling, save space, higher upfront cost.
Rack Units
Standard sizing allows flexible stacking—like tech LEGO bricks.
1
2
3

## Slide 10
POWER PATHWAYS
Multiple power layers prevent downtime—redundant feeds, batteries, and generators.
Utility Feeds
Two separate sources ensure power never stops.
ATS & Generators
Switch instantly to backup during outages.
UPS
Batteries bridge the gap before generators start.
1
2
3

## Slide 11
ELECTRICAL ROOMS
Dedicated rooms house high-voltage gear, keeping IT space safe and efficient.
Switchgear
Controls and protects power flow.
PDUs
Distribute power to racks, monitor loads.
Battery Rooms
UPS batteries need ventilation and climate control.
1
2
3

## Slide 12
WHITE SPACE POWER
Power delivered via floor PDUs, busways, and rack PDUs—think water mains to faucets.
Floor PDUs
Main power hub on the data center floor.
Overhead Busways
Flexible ‘electrical highways’ above racks.
Rack PDUs
Provide outlets and remote control for each rack.
1
2
3

## Slide 13
COOLING ARCHITECTURE
Cooling cycles move heat from servers to the outdoors—like AC on a massive scale.
Chillers
Create chilled water, remove most heat.
Cooling Towers
Release heat to the atmosphere, like sweating.
Pumps
Circulate water to keep everything cool.
1
2
3

## Slide 14
MECHANICAL ROOMS
AHUs, fans, and dampers control air delivery and quality for IT and people.
AHUs
Air handling units adjust temp, humidity, and filter air.
Fans & Filters
Keep air clean and circulating.
Dampers
Direct airflow where needed most.
1
2
3

## Slide 15
WHITE SPACE COOLING
CRAC, CRAH, and IRC units deliver precise cooling where servers need it most.
CRAC/CRAH
Blow cold air under floors, up to servers.
In-Row Cooling
Cools between racks for targeted efficiency.
Overhead/Rear-Door
Extra solutions for high-density zones.
1
2
3

## Slide 16
EQUIPMENT INTEGRATION
Power, cooling, and racks work in harmony—remove one and the system fails.
Redundant Power
Every critical device gets two power feeds.
Cooling Follows Power
Heat generated = cooling required.
Monitoring
Systems track power, temp, airflow, and alert on issues.
1
2
3

## Slide 17
1
1st key takeaway
Data centers rely on IT, power, and cooling systems working together.
3
3rd key takeaway
Mapping equipment to its location clarifies how the whole system operates.
2
2nd key takeaway
Redundancy in power and cooling ensures 24/7 uptime for digital services.
4
4th key takeaway
Precise terminology and layered protection are essential for reliability and safety.