## Slide 1: Data Center
Introduction

## Slide 2: What is a data center
Data centers provide a range on information technology services
These services include:
  Email
  Data storage and management
  Web hosting
  Application Hosting

## Slide 3: What is a data center
Data centers are designed to house information systems and related components such as:
  Servers
  Routers
  Storage
  Uninterruptable power supplies (UPS)
  Cooling Units
  Power Distribution Unit (PDU)
Data centers have unique and typically large power requirements
They are often raised floor designs to accommodate the large amount of cables required.
Notes: Recommended reading before this class: http://en.wikipedia.org/wiki/Data_center

## Slide 4: Data center Benefits
Economies of Scale
  Purchasing savings based on large purchases
  Dedicated IT staff
  Shared resources
Security
  Physical
    Limited access to servers
    Surveillance
  Virtual
    Firewalls
    Anti-virus
    Password Protection

## Slide 5
Tier Level | Data center classification
1 | Single non-redundant distribution path serving the IT equipment Non-redundant capacity components Basic site infrastructure guaranteeing 99.671% availability
2 | Fulfills all Tier 1 requirements Redundant site infrastructure capacity components guaranteeing 99.741% availability
3 | Fulfills all Tier 1 and Tier 2 requirements Multiple independent distribution paths serving the IT equipment All it equipment must be dual-powered and fully compatible with the topology of a site’s architecture Concurrently maintainable site infrastructure guaranteeing 99.982% availability
4 | Fulfills all Tier 1, Tier 2, and Tire 3 requirements All cooling equipment is independently dual-powered, including chillers and heating, ventilation and air-conditioning (HVAC) systems Fault tolerant site infrastructure with electrical power storage and distribution facilities guaranteeing 99.995% availability
Notes:   Source: http://en.wikipedia.org/wiki/Data_center

## Slide 6: What do these classifications mean?
Availability | Downtime/year
Tier 1: 99.671% | 28 hours
Tier 2: 99.741% | 22 hours
Tier 3: 99.982% | 1.5 hours
Tier 4: 99.995% | 26 minutes
“Businesses lose an average of about $5,000 per minute in an outage.”
$300,000 per hour.
Notes: Table data source:labs.vmware.com/download/90/
Quote: http://www.eweek.com/c/a/IT-Infrastructure/Unplanned-IT-Downtime-Can-Cost-5K-Per-Minute-Report-549007/